## sites and notes
Extinction Coefficients calculations | https://tools.thermofisher.com/content/sfs/brochures/TR0006-Extinction-coefficients.pdf
Gram, weight, molarity calculations | http://www.meduniwien.ac.at/user/johannes.schmid/MolarityJava.htm
Conversion: weight - moles (for proteins). | http://molbiol.edu.ru/eng/scripts/01_04.html
Molarity Calculator | https://www.tocris.com/molarityCalculator.php#.WD7rq00o5EY
Calculate Mass Required for Molar Solution | http://www.sigmaaldrich.com/chemistry/stockroom-reagents/learning-center/technical-library/mass-molarity-calculator.html
For conversion of many type of units. | http://www.endmemo.com/index.php
Notes
1 M = 1,000 mM = 1,000,000 uM
1 M = 1 mmol/mL =1000 umol/mL = 1umol/ul
1 mM = 0.001 mmol/mL = 0.001umol/ul = 1nmol/ul
1 mM = 1,000 uM
Example of g/volume for MW of protein entered in green cell
23970 | g/L = 1M | 23.97 | g/l for 1 mM
23.97 | mg/ml = ug/ul =1M | 0.02397 | mg/ml or ug/ul for 1 mM
0.02397 | mg/ul = 1M | 2.397e-05 | mg/ul for 1 mM
Note on A9: These values are from http://www.endmemo.com/index.php

## Proteins
Enter protein or peptide names and g/mol
Enter names or values in green cells
Results dispalyed in blue cells
bead ID | molecule name | g/mol (MW) | kDa
18 | Protein 1 | 43000 | 43
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.

## mol to gram calculations
Use to convert mM to other units
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
To make the nmol/ul stock needed for each protein with different mg/ml stock concentrations
molecule name | g/mol (MW) | kDa | mM | mg/ml (or ug/ul) | mmol/ml (or umol/ul) | nmol/ul | Volume to make in ul | Stock mg/ml | ul of stock to make mg/ml in column E | ul buffer
Protein 1 | 43000 | 43 | 0.01 | 0.43 | 1e-05 | 0.01 | 500 | 3.108 | 69.1763 | 430.8237
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on D6: A mM concentration that gives nmol/ul in 0.1 to 0.0001 range works for most proteins but needs to be optimized for each protein or peptide. The total amount of your protein stock will determine if you have enough protein or peptide to use.
Note on E6: Protein concentration needed to get desired molarity or umol/ul need for coupling.
Note on G6: Enter this value in the cell for "Stock Antibody or Protein Conc. (in nmol/ul) =" on the binding tab needed for calculations.

## Avidin binding reactions
Avidin bead binding
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
Bead volumes
|  | Bead region = | 26
Bead stock concentration/ml = |  |  | 2500000
number of beads to couple/rxn = |  |  | 1000000
Volume of bead stock needed in ul/coupling rxn = |  |  | 400 | uM | mM | pmol/ul
Stock Antibody or Protein Conc. (in nmol/ul) = |  |  | 0.01 | 10 | 0.01 | 10
number of coupling titration reactions= |  |  | 5
MagPlex Avidin Bead washing
Step | Total volume of beads needed in ul = |  | 2000
1 | Place the total volume of beads needed in low bind tube and place on magnet or centrifuge.
2 | Carefully remove all of the supernatant.
3 | Take tube off magnet and resuspend in 100 ul or more of PBS-TBN or another suitable buffer.
4 | Place back on magnet for up to 2 minutes then carefully remove all of the supernatant.
5 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
6 | Remove the tube from the magnetic separator and resuspend the microspheres in 250 μL of PBS-TBN, mix by vortex and sonication for approximately 20 seconds.
7 | Place back on magnet for up to 2 minutes then carefully remove all of the supernatant.
8 | Repeat steps 6 and 7 for a total of two washes with PBS-TBN.
9 | Remove the tube from the magnetic separator and resuspend the microspheres in the following volume of PBS-TBN.
10 | Final resuspension volume in ul = |  | 2000
Add protein/peptide last to the volumes below and vortex immediately for individual couplings. Then follow the protocol below or in the xMAP Cookbook.
| Desired ul volume for binding reactions = |  | 500
Protein Binding Reactions
Antibody, Protein and buffer volumes to add to Avidin beads |  |  |  | tube # or name
Number of activated beads to couple = |  |  | 1000000 | 1
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.1 | 100 | 0.1 | 0.0001
ul of Protein needed = |  |  | 10
PBS-TBN volume = |  |  | 90
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 2
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.05 | 50 | 0.05 | 5e-05
ul of Protein needed = |  |  | 5
PBS-TBN volume = |  |  | 95
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 3
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.025 | 25 | 0.025 | 2.5e-05
ul of Protein needed = |  |  | 2.5
PBS-TBN volume = |  |  | 97.5
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 4
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.015 | 15 | 0.015 | 1.5e-05
ul of Protein needed = |  |  | 1.5
PBS-TBN volume = |  |  | 98.5
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 5
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.01 | 10 | 0.01 | 1e-05
ul of Protein needed = |  |  | 1
PBS-TBN volume = |  |  | 99
|  | Total ul = | 500
11 | Incubate for 30 minutes with mixing (by rotation) in the dark at room temperature.
12 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
13 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
14 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 500 μL of PBS-TBN, mix by vortex and sonication for approximately 20 seconds.
15 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes before removing supernatant.
16 | Repeat steps 11 to 14 for a total of two washes in PBS-TBN.
17 | Remove tube from the magnetic separator and resuspend the coupled and washed microspheres in 250-1000 μL of Wash Buffer.
18 | Count the number of microspheres recovered using a cell counter or hemacytometer.
19 | Store coupled microspheres refrigerated at 2-8°C in the dark.
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on A7: Enter the bead concentration/ml of the bead stock.
Note on A8: Enter the number of beads in each binding reaction.
Note on A10: 1 nmol/ul = 1,000 pmol/ul
Note on A11: Enter the number of different concentrations to be tested here. For example, if you are testing the binding of a protein at 4 different concentrations enter 4.
Note on A15: See xMAP cookbook for variation of this protocol.
Note on B18: This wash volume can be adjusted to what ever is needed for the size tube, volume of beads used and type of tube magnet being used. Also, a buffer other than PBS-TBN can be used.
Note on B21: This wash volume can be adjusted to what ever is needed for the size tube, volume of beads used and type of tube magnet being used. Also, a buffer other than PBS-TBN can be used.
Note on B25: A buffer other than PBS-TBN can be used.
Note on D26: This is one of the few pink cells that you can edit to enter a specific volume if needed.
Note on B30: This can be increased to 1 or 2 ml or more if needed.
Note on A37: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A43: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A49: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A55: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A61: Other suitable buffers can be used like Activation buffer or MES buffer.

## Binding rxns x dilution
Avidin bead binding
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
Bead volumes
|  | Bead region = | 26
Bead stock concentration/ml = |  |  | 2500000
number of beads to couple/rxn = |  |  | 1000000
Volume of bead stock needed in ul/coupling rxn = |  |  | 400 | uM | mM | pmol/ul
Stock Antibody or Protein Conc. (in nmol/ul) = |  |  | 0.01 | 10 | 0.01 | 10
number of coupling titration reactions= |  |  | 5
MagPlex Avidin Bead washing
Step | Total volume of beads needed in ul = |  | 2000
1 | Place the total volume of beads needed in low bind tube and place on magnet or centrifuge.
2 | Carefully remove all of the supernatant.
3 | Take tube off magnet and resuspend in 100 ul or more of PBS-TBN or another suitable buffer.
4 | Place back on magnet for up to 2 minutes then carefully remove all of the supernatant.
5 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
6 | Remove the tube from the magnetic separator and resuspend the microspheres in 250 μL of PBS-TBN, mix by vortex and sonication for approximately 20 seconds.
7 | Place back on magnet for up to 2 minutes then carefully remove all of the supernatant.
8 | Repeat steps 6 and 7 for a total of two washes with PBS-TBN.
9 | Remove the tube from the magnetic separator and resuspend the microspheres in the following volume of PBS-TBN.
10 | Final resuspension volume in ul = |  | 2000
Add protein/peptide last to the volumes below and vortex immediately for individual couplings. Then follow the protocol below or in the cookbook.
|  | Titration fold dilution = | 2
| Desired ul volume for binding reactions = |  | 500
Protein Binding Reactions
Antibody, Protein and buffer volumes to add to Avidin beads |  |  |  | tube # or name
Number of activated beads to couple = |  |  | 1000000 | 1
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.1 | 100 | 0.1 | 0.0001
ul of Protein needed = |  |  | 10
PBS-TBN volume = |  |  | 90
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 2
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.05 | 50 | 0.05 | 5e-05
ul of Protein needed = |  |  | 5
PBS-TBN volume = |  |  | 95
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 3
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.025 | 25 | 0.025 | 2.5e-05
ul of Protein needed = |  |  | 2.5
PBS-TBN volume = |  |  | 97.5
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 4
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.0125 | 12.5 | 0.0125 | 1.25e-05
ul of Protein needed = |  |  | 1.25
PBS-TBN volume = |  |  | 98.75
|  | Total ul = | 500
Number of activated beads to couple = |  |  | 1000000 | 5
|  | ul of washed beads needed = | 400 | pmol/million | nmol/million | umol/million
nmol of Protein/ 10^6 beads = |  |  | 0.00625 | 6.25 | 0.00625 | 6.25e-06
ul of Protein needed = |  |  | 0.625
PBS-TBN volume = |  |  | 99.375
|  | Total ul = | 500
11 | Incubate for 30 minutes with mixing (by rotation) in the dark at room temperature.
12 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
13 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
14 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 500 μL of PBS-TBN, mix by vortex and sonication for approximately 20 seconds.
15 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes before removing supernatant.
16 | Repeat steps 11 to 14 for a total of two washes in PBS-TBN.
17 | Remove tube from the magnetic separator and resuspend the coupled and washed microspheres in 250-1000 μL of Wash Buffer.
18 | Count the number of microspheres recovered using a cell counter or hemacytometer.
19 | Store coupled microspheres refrigerated at 2-8°C in the dark.
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on A7: Enter the bead concentration/ml of the bead stock.
Note on A8: Enter the number of beads in each binding reaction.
Note on A10: 1 nmol/ul = 1,000 pmol/ul
Note on A11: Enter the number of different concentrations to be tested here. For example, if you are testing the binding of a protein at 4 different concentrations enter 4.
Note on A15: See xMAP cookbook for variation of this protocol.
Note on B18: This wash volume can be adjusted to what ever is needed for the size tube, volume of beads used and type of tube magnet being used. Also, a buffer other than PBS-TBN can be used.
Note on B21: This wash volume can be adjusted to what ever is needed for the size tube, volume of beads used and type of tube magnet being used. Also, a buffer other than PBS-TBN can be used.
Note on B25: A buffer other than PBS-TBN can be used.
Note on D26: This is one of the few pink cells that you can edit to enter a specific volume if needed.
Note on B30: This can be increased to 1 or 2 ml or more if needed.
Note on A37: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A43: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A49: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A55: Other suitable buffers can be used like Activation buffer or MES buffer.
Note on A61: Other suitable buffers can be used like Activation buffer or MES buffer.