## sites and notes
Extinction Coefficients calculations | https://tools.thermofisher.com/content/sfs/brochures/TR0006-Extinction-coefficients.pdf
Gram, weight, molarity calculations | http://www.meduniwien.ac.at/user/johannes.schmid/MolarityJava.htm
Conversion: weight - moles (for proteins). | http://molbiol.edu.ru/eng/scripts/01_04.html
Molarity Calculator | https://www.tocris.com/molarityCalculator.php#.WD7rq00o5EY
Calculate Mass Required for Molar Solution | http://www.sigmaaldrich.com/chemistry/stockroom-reagents/learning-center/technical-library/mass-molarity-calculator.html
For conversion of many type of units. | http://www.endmemo.com/index.php
Notes
1 M = 1,000 mM = 1,000,000 uM
1 M = 1 mmol/mL =1000 umol/mL = 1umol/ul
1 mM = 0.001 mmol/mL = 0.001umol/ul = 1nmol/ul
1 mM = 1,000 uM
Example of g/volume for MW of protein entered in green cell
23970 | g/L = 1M | 23.97 | g/l for 1 mM
23.97 | mg/ml = ug/ul =1M | 0.02397 | mg/ml or ug/ul for 1 mM
0.02397 | mg/ul = 1M | 2.397e-05 | mg/ul for 1 mM
Note on A9: These values are from http://www.endmemo.com/index.php

## Proteins
Enter protein or peptide names and g/mol
Enter names or values in green cells
Results dispalyed in blue cells
Bead ID | Molecule Name | g/mol (MW) | kDa
18 | PS20 | 31080 | 31.08
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.

## mol to gram calculations
Use to convert mM to other units
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
To make the nmol/ul stock needed for each protein with different mg/ml stock concentrations
Molecule Name | g/mol (MW) | kDa | mM | mg/ml (or ug/ul) | mmol/ml (or umol/ul) | nmol/ul | Volume to make in ul | Stock mg/ml | ul of stock to make mg/ml in column E | ul buffer
PS20 | 31080 | 31.08 | 0.01 | 0.3108 | 1e-05 | 0.01 | 100 | 3.108 | 10 | 90
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on D6: A mM concentration that gives nmol/ul in 0.1 to 0.0001 range works for most proteins but needs to be optimized for each protein or peptide. The total amount of your protein/peptide stock will also determine if you have enough protein or peptide to use.
Note on E6: Protein concentration needed to get desired molarity or nmol/ul indicated in column J need for coupling.
Note on G6: Enter this value in the cell for "Stock Antibody or Protein Conc. (in nmol/ul) =" on the activation tab needed for calculations.

## activating up to 5 million
Bead activation and coupling volumes
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
Note: This spreadsheet is 500 ul couplings reactions as described in the xMAP Cookbook.
For activation of up to 5 million beads for 1 or more coupling reactions. If more than 5 million beads need to be activated, go to the next tab or use the scaling table on page 19 of the xMAP cookbook for proper reagent volumes.
Bead volumes
|  | Bead region = | See Proteins tab
Bead stock concentration/ml = |  |  | 12500000
number of beads to couple/rxn = |  |  | 1000000
Volume of bead stock needed in ul/coupling rxn = |  |  | 80 | uM | mM | pmol/ul
Stock Antibody or Protein Conc. (in nmol/ul) = |  |  | 0.01 | 10 | 0.01 | 10
number of coupling titration reactions= |  |  | 5
Bead activation
Step | Total volume of beads needed in ul = |  | 400
1 | Place the total volume of beads needed in low bind tube and place on magnet or centrifuge.
2 | Carefully remove all of the supernate.
3 | Take tube off magnet and resuspend in 100 ul or more of dH2O or Activation buffer. (Can wash with same volume of beads used)
4 | Place back on magnet for up to 2 minutes then carefully remove all of the supernate.
5 | Remove tube from magnet and resuspend the pellet in 80 ul of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
6 | Add 10 uL of 50 mg/mL Sulfo-NHS to the microspheres and mix gently by vortex.
7 | Add 10 uL of 50 mg/mL EDC (dissolved in 200ul of Activation buffer per 10 mg vail) to the microspheres and mix gently by vortex.
8 | Incubate for 20 minutes at room temperature with gentle mixing by vortex at 10 minute intervals.
9 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
10 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
11 | Remove the tube from the magnetic separator and resuspend the microspheres in 250 μL of Activation buffer and mix by vortex and sonication for approximately 20 seconds.
12 | Repeat steps 9 and 10 for a total of two washes with Activation buffer.
13 | Remove the tube from the magnetic separator and resuspend the activated and washed microspheres in the following volume of Activation buffer.
14 | Final resuspension volume in ul = |  | 400
Use the volumes below for individual couplings following the protocol in the cookbook.
17 to 19 | Protein Coupling Reactions
Antibody, Protein and buffer volumes to add to activated beads |  |  |  | tube # or name
Number of activated beads to couple in millions = |  |  | 1 | 1
|  | ul of activated washed beads needed = | 80 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.5 | 500 | 0.5 | 0.0005
ul of Antibody or Protein needed = |  |  | 50
Activation buffer volume in ul = |  |  | 370
|  | Total ul = | 500
Number of activated beads to couple in millions = |  |  | 1 | 2
|  | ul of activated washed beads needed = | 80 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.1 | 100 | 0.1 | 0.0001
ul of Antibody or Protein needed = |  |  | 10
Activation buffer volume in ul = |  |  | 410
|  | Total ul = | 500
Number of activated beads to couple in millions = |  |  | 1 | 3
|  | ul of activated washed beads needed = | 80 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.05 | 50 | 0.05 | 5e-05
ul of Antibody or Protein needed = |  |  | 5
Activation buffer volume in ul = |  |  | 415
|  | Total ul = | 500
Number of activated beads to couple in millions = |  |  | 1 | 4
|  | ul of activated washed beads needed = | 80 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.01 | 10 | 0.01 | 1e-05
ul of Antibody or Protein needed = |  |  | 1
Activation buffer volume in ul = |  |  | 419
|  | Total ul = | 500
Number of activated beads to couple in millions = |  |  | 1 | 5
|  | ul of activated washed beads needed = | 80 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.005 | 5 | 0.005 | 5e-06
ul of Antibody or Protein needed = |  |  | 0.5
Activation buffer volume in ul = |  |  | 419.5
|  | Total ul = | 500
20 | Incubate for 2 hours with mixing (by rotation) at room temperature.
21 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
22 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
23 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 500 μL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
24 | Optional blocking step – Incubate for 30 minutes with mixing (by rotation) at room temperature. (Note: Perform this step when using the microspheres the same day.)
25 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
26 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
27 | Remove the tube from the magnetic separator and resuspend the microspheres in 0.5 to 1 mL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
28 | Repeat steps 25 and 26. This is a total of two washes with 1 mL wash buffer.
29 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 250-1000 μL of wash buffer.
30 | Count the number of microspheres recovered after the coupling reaction using a cell counter or hemocytometer.
31 | Store coupled microspheres refrigerated at 2-8°C in the dark.
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on A11: Enter the bead concentration/ml of the bead stock.
Note on A12: Enter the number of beads in each coupling reaction. Maximum is 5,000,000 for these coupling volumes.
Note on A14: 1 nmol/ul = 1,000 pmol/ul
Note on A15: Enter the number of different concentrations to be tested here. For example, if you are testing the coupling of a protein at 4 different concentrations enter 4.
Note on A19: Step in cookbook

## activating >5 to <12.5 million
Bead activation and coupling volumes
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
Note: This spreadsheet is for scaled up couplings in 1000 ul reaction volumes with > 5 million beads/rxn to 12.5 million beads/rxn.
For activation of more than 5 million beads up to 12.5 million beads for one or more coupling reactions. If more than 12.5 million beads need to be activated, go to the next tab or use the scaling table on page 19 of the xMAP cookbook for proper reagent volumes.
Bead volumes
|  | Bead region = | See Proteins tab
Bead stock concentration/ml = |  |  | 12500000
number of beads to couple/rxn = |  |  | 6000000
Volume of bead stock needed in ul/coupling rxn = |  |  | 480 | uM | mM | pmol/ul
Stock Antibody or Protein Conc. (in nmol/ul) = |  |  | 0.01 | 10 | 0.01 | 10
number of coupling titration reactions= |  |  | 2
Bead activation
Step | Total volume of beads needed in ul = |  | 960
1 | Place the total volume of beads needed in low bind tube and place on magnet or centrifuge.
2 | Carefully remove all of the supernate.
3 | Take tube off magnet and resuspend in 500 ul or more of dH2O or Activation buffer. (Can wash with same volume of beads used)
4 | Place back on magnet for up to 2 minutes then carefully remove all of the supernate.
5 | Remove tube from magnet and resuspend the pellet in 400 ul of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
6 | Add 50 uL of 50 mg/mL Sulfo-NHS to the microspheres and mix gently by vortex.
7 | Add 50 uL of 50 mg/mL EDC (dissolved in 200ul of Activation buffer) to the microspheres and mix gently by vortex.
8 | Incubate for 20 minutes at room temperature with gentle mixing by vortex at 10 minute intervals.
9 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
10 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
11 | Remove the tube from the magnetic separator and resuspend the microspheres in 500 μL of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
12 | Repeat steps 9 and 10 for a total of two washes with Activation buffer.
13 | Remove the tube from the magnetic separator and resuspend the activated and washed microspheres in the following volume of Activation buffer.
14 | Final resuspension volume in ul = |  | 960
Use the volumes below for individual couplings following the protocol in the cookbook.
17 to 19 | Protein Coupling Reactions
Antibody, Protein and buffer volumes to add to activated beads |  |  |  | tube # or name
Number of activated beads to couple in millions = |  |  | 6 | 1
|  | ul of activated washed beads needed = | 480 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.01 | 10 | 0.01 | 1e-05
ul of Antibody or Protein needed = |  |  | 6
Activation buffer volume in ul = |  |  | 14
|  | Total ul = | 500
Number of activated beads to couple in millions = |  |  | 6 | 2
|  | ul of activated washed beads needed = | 480 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.001 | 1 | 0.001 | 1e-06
ul of Antibody or Protein needed = |  |  | 0.6
Activation buffer volume in ul = |  |  | 19.4
|  | Total ul = | 500
20 | Incubate for 2 hours with mixing (by rotation) at room temperature.
21 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
22 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
23 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 500 to 1,000 μL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
24 | Optional blocking step – Incubate for 30 minutes with mixing (by rotation) at room temperature. (Note: Perform this step when using the microspheres the same day.)
25 | Place the tube into a magnetic separator and allow separation to occur for up to 2 minutes.
26 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
27 | Remove the tube from the magnetic separator and resuspend the microspheres in 1 mL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
28 | Repeat steps 25 and 26. This is a total of two washes with 0.5 to 1 mL of wash buffer.
29 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 250-1000 μL of wash buffer.
30 | Count the number of microspheres recovered after the coupling reaction using a cell counter or hemocytometer.
31 | Store coupled microspheres refrigerated at 2-8°C in the dark.
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on A11: Enter the bead concentration/ml of the bead stock.
Note on A12: Enter the number of beads in each coupling reaction. Maximum is 5,000,000 for these coupling volumes.
Note on A14: 1 nmol/ul = 1,000 pmol/ul
Note on A15: Enter the number of different concentrations to be tested here. For example, if you are testing the coupling of a protein at 4 different concentrations enter 4.
Note on A19: Step in cookbook
Note on D37: This is one of the few pink cells that you can edit to enter a smaller volume when needed.

## activating >12.5 mil to 50 mil
Bead activation and coupling volumes
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
Note: This spreadsheet is for scaled up couplings in 1000 ul reaction volumes with 12.5 million beads/coupling reaction.
For activation of more than 12.5 million beads up to 50 million beads for one or more coupling reactions. If more than 50 million beads need to be activated, go to the next tab or use the scaling table on page 19 of the xMAP cookbook for proper reagent volumes.
Bead volumes
|  | Bead region = | See Proteins tab
Bead stock concentration/ml = |  |  | 12500000 | 1 | = stock vail size in ml
number of beads to couple/rxn = |  |  | 20000000
Volume of bead stock needed in ul/coupling rxn = |  |  | 1600 | uM | mM | pmol/ul
Stock Antibody or Protein Conc. (in nmol/ul) = |  |  | 0.01 | 10 | 0.01 | 10
number of coupling titration reactions= |  |  | 2
Bead activation
Step | Total volume of beads needed in ul = |  | 3200 | 3.2 | = number of vials needed
1 | Place the total volume of beads needed in low bind tube and place on magnet or centrifuge.
2 | Carefully remove all of the supernate.
3 | Take tube off magnet and resuspend in 2000 ul or more of dH2O or Activation buffer. (Can wash with same volume of beads used)
4 | Place back on magnet for at least 2 minutes, then carefully remove all of the supernate.
5 | Remove tube from magnet and resuspend the pellet in 400 ul of 100 of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
6 | Add 50 uL of 50 mg/mL Sulfo-NHS to the microspheres and mix gently by vortex.
7 | Add 50 uL of 50 mg/mL EDC (dissolved in 200ul of Activation buffer) to the microspheres and mix gently by vortex.
8 | Incubate for 20 minutes at room temperature with gentle mixing by vortex at 10 minute intervals.
9 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
10 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
11 | Remove the tube from the magnetic separator and resuspend the microspheres in 500 μL of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
12 | Repeat steps 9 and 10 for a total of two washes with Activation buffer.
13 | Remove the tube from the magnetic separator and resuspend the activated and washed microspheres in the following volume of Activation buffer.
14 | Final resuspension volume in ul = |  | 3200
Use the volumes below for individual couplings following the protocol in the cookbook.
17 to 19 | Protein Coupling Reactions
Antibody, Protein and buffer volumes to add to activated beads |  |  |  | tube # or name
Number of activated beads to couple in millions = |  |  | 20 | 1
|  | ul of activated washed beads needed = | 1600 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.01 | 10 | 0.01 | 1e-05
ul of Antibody or Protein needed = |  |  | 20
Activation buffer volume in ul = |  |  | 380
|  | Total ul = | 2000
Number of activated beads to couple in millions = |  |  | 20 | 2
|  | ul of activated washed beads needed = | 1600 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.001 | 1 | 0.001 | 1e-06
ul of Antibody or Protein needed = |  |  | 2
Activation buffer volume in ul = |  |  | 398
|  | Total ul = | 2000
20 | Incubate for 2 hours with mixing (by rotation) at room temperature.
21 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
22 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
23 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 500 to 1,000 μL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
24 | Optional blocking step – Incubate for 30 minutes with mixing (by rotation) at room temperature. (Note: Perform this step when using the microspheres the same day.)
25 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
26 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
27 | Remove the tube from the magnetic separator and resuspend the microspheres in 1 mL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
28 | Repeat steps 25 and 26 for a total of two washes.
29 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 250-1000 μL of wash buffer.
30 | Count the number of microspheres recovered after the coupling reaction using a cell counter or hemocytometer.
31 | Store coupled microspheres refrigerated at 2-8°C in the dark.
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on A11: Enter the bead concentration/ml of the bead stock.
Note on A12: Enter the number of beads in each coupling reaction. Maximum is 5,000,000 for these coupling volumes.
Note on A14: 1 nmol/ul = 1,000 pmol/ul
Note on A15: Enter the number of different concentrations to be tested here. For example, if you are testing the coupling of a protein at 4 different concentrations enter 4.
Note on A19: Step in cookbook
Note on D37: This is one of the few pink cells that you can edit to enter a smaller volume when needed.

## acitivating >50 mil to 200 mil
Bead activation and coupling volumes
Enter values in green cells
Results displayed in blue cells
Pink cells are ul to pipette
Note: This spreadsheet is for scaled up couplings in 2000 ul reaction volumes with > 50 million beads/coupling reaction.
For activation of more than 50 million beads up to 200 million beads for one or more coupling reactions. If more than 200 million beads need to be activated, go to the next tab or use the scaling table on page 19 of the xMAP cookbook for proper reagent volumes.
Bead volumes
|  | Bead region = | See Proteins tab
Bead stock concentration/ml = |  |  | 12500000 | 1 | = stock vail size in ml
number of beads to couple/rxn = |  |  | 60000000
Volume of bead stock needed in ul/coupling rxn = |  |  | 4800 | uM | mM | pmol/ul
Stock Antibody or Protein Conc. (in nmol/ul) = |  |  | 1 | 1000 | 1 | 1000
number of coupling titration reactions= |  |  | 2
Bead activation
Step | Total volume of beads needed in ul = |  | 9600 | 9.6 | = number of vials needed
1 | Place the total volume of beads needed in low bind tube and place on magnet or centrifuge.
2 | Carefully remove all of the supernate.
3 | Take tube off magnet and resuspend in 2000 ul or more of dH2O or Activation buffer. (Can wash with same volume of beads used)
4 | Place back on magnet for at least 2 minutes then carefully remove all of the supernate.
5 | Remove tube from magnet and resuspend the pellet in 400 ul of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
6 | Add 50 uL of 50 mg/mL Sulfo-NHS to the microspheres and mix gently by vortex.
7 | Add 50 uL of 50 mg/mL EDC (dissolved in 200ul of Activation buffer) to the microspheres and mix gently by vortex.
8 | Incubate for 20 minutes at room temperature with gentle mixing by vortex at 10 minute intervals.
9 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
10 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
11 | Remove the tube from the magnetic separator and resuspend the microspheres in 500 μL of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
12 | Repeat steps 9 and 10 for a total of two washes with Activation buffer.
13 | Remove the tube from the magnetic separator and resuspend the activated and washed microspheres in the following volume of Activation buffer.
14 | Final resuspension volume in ul = |  | 2400
Use the volumes below for individual couplings following the protocol in the cookbook.
17 to 19 | Protein Coupling Reactions
Antibody, Protein and buffer volumes to add to activated beads |  |  |  | tube # or name
Number of activated beads to couple in millions = |  |  | 60 | 1
|  | ul of activated washed beads needed = | 1200 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.5 | 500 | 0.5 | 0.0005
ul of Antibody or Protein needed = |  |  | 30
Activation buffer volume in ul = |  |  | 770
|  | Total ul = | 2000
Number of activated beads to couple in millions = |  |  | 60 | 2
|  | ul of activated washed beads needed = | 1200 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.1 | 100 | 0.1 | 0.0001
ul of Antibody or Protein needed = |  |  | 6
Activation buffer volume in ul = |  |  | 794
|  | Total ul = | 2000
20 | Incubate for 2 hours with mixing (by rotation) at room temperature.
21 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
22 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
23 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 500 to 1,000 μL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
24 | Optional blocking step – Incubate for 30 minutes with mixing (by rotation) at room temperature. (Note: Perform this step when using the microspheres the same day.)
25 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
26 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
27 | Remove the tube from the magnetic separator and resuspend the microspheres in 1 mL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
28 | Repeat steps 25 and 26 for a total of two washes with wash buffer.
29 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 250-1000 μL of wash buffer.
30 | Count the number of microspheres recovered after the coupling reaction using a cell counter or hemocytometer.
31 | Store coupled microspheres refrigerated at 2-8°C in the dark.
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A4: Only enter values in green cells. Do not edit blue or pink cells.
Note on A11: Enter the bead concentration/ml of the bead stock.
Note on A12: Enter the number of beads in each coupling reaction. Maximum is 5,000,000 for these coupling volumes.
Note on A14: 1 nmol/ul = 1,000 pmol/ul
Note on A15: Enter the number of different concentrations to be tested here. For example, if you are testing the coupling of a protein at 4 different concentrations enter 4.
Note on A19: Step in cookbook
Note on D37: This is one of the few pink cells that you can edit to enter a smaller volume when needed.

## activating >200 mil to 600 mil
Bead activation and coupling volumes
Enter amounts or text in green cells.
Calculated volumes to pipette appear in pink cells.
Note: This spreadsheet is for scaled up couplings in 2000 ul reaction volumes with > 200 million beads/coupling reaction.
For activation of more than 50 million beads up to 200 million beads for one or more coupling reactions. If more than 600 million beads need to be activated, use the scaling table on page 19 of the xMAP cookbook or contact your FAS for more details.
Bead volumes
|  | Bead region = | See Proteins tab
Bead stock concentration/ml = |  |  | 12500000 | 1 | = stock vail size in ml
number of beads to couple/rxn = |  |  | 300000000
Volume of bead stock needed in ul/coupling rxn = |  |  | 24000 | uM | mM | pmol/ul
Stock Antibody or Protein Conc. (in nmol/ul) = |  |  | 0.1 | 100 | 0.1 | 100
number of coupling titration reactions= |  |  | 1
Bead activation
Step | Total volume of beads needed in ul = |  | 24000 | 24 | = number of vials needed
1 | Place the total volume of beads needed in low bind tube and place on magnet or centrifuge.
2 | Carefully remove all of the supernate.
3 | Take tube off magnet and resuspend in 2000 ul or more of dH2O or Activation buffer. (Can wash with same volume of beads used)
4 | Place back on magnet for at least 2 minutes then carefully remove all of the supernate.
5 | Remove tube from magnet and resuspend the pellet in 400 ul of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
6 | Add 400 uL of 50 mg/mL Sulfo-NHS to the microspheres and mix gently by vortex. | [5 empty] | Note that the EDC and Sulfo-NHS volumes needed will require extra vials of these reagents that are not in the standard ABC kits.
7 | Add 400 uL of 50 mg/mL EDC (dissolved in 200ul of Activation buffer) to the microspheres and mix gently by vortex.
8 | Incubate for 20 minutes at room temperature with gentle mixing by vortex at 10 minute intervals.
9 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
10 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
11 | Remove the tube from the magnetic separator and resuspend the microspheres in 500 μL of Activation buffer, mix by vortex and sonication for approximately 20 seconds.
12 | Repeat steps 9 and 10 for a total of two washes with Activation buffer.
13 | Remove the tube from the magnetic separator and resuspend the activated and washed microspheres in the following volume of Activation buffer.
14 | Final resuspension volume in ul = |  | 1200
Use the volumes below for individual couplings following the protocol in the cookbook.
17 to 19 | Protein Coupling Reactions
Antibody, Protein and buffer volumes to add to activated beads |  |  |  | tube # or name
Number of activated beads to couple in millions = |  |  | 300 | 1
|  | ul of activated washed beads needed = | 1200 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.05 | 50 | 0.05 | 5e-05
ul of Antibody or Protein needed = |  |  | 150
Activation buffer volume in ul = |  |  | 650
|  | Total ul = | 2000
Number of activated beads to couple in millions = |  |  | 300 | 2
|  | ul of activated washed beads needed = | 1200 | pmol/million | nmol/million | umol/million
nmol Antibody or Protein/ 10^6 beads = |  |  | 0.03 | 30 | 0.03 | 3e-05
ul of Antibody or Protein needed = |  |  | 90
Activation buffer volume in ul = |  |  | 710
|  | Total ul = | 2000
20 | Incubate for 2 hours with mixing (by rotation) at room temperature.
21 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
22 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
23 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 500 to 1,000 μL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
24 | Optional blocking step – Incubate for 30 minutes with mixing (by rotation) at room temperature. (Note: Perform this step when using the microspheres the same day.)
25 | Place the tube into a magnetic separator and allow separation to occur for at least 2 minutes.
26 | With the tube still positioned in the magnetic separator, remove the supernatant. Take care not to disturb the microspheres.
27 | Remove the tube from the magnetic separator and resuspend the microspheres in 1 mL of wash buffer, mix by vortex and sonication for approximately 20 seconds.
28 | Repeat steps 25 and 26 for a total of two washes with wash buffer.
29 | Remove the tube from the magnetic separator and resuspend the coupled microspheres in 250-1000 μL of wash buffer.
30 | Count the number of microspheres recovered after the coupling reaction using a cell counter or hemocytometer.
31 | Store coupled microspheres refrigerated at 2-8°C in the dark.
Note on A2: Only enter values in green cells. Do not edit blue or pink cells.
Note on A3: Only enter values in green cells. Do not edit blue or pink cells.
Note on A10: Enter the bead concentration/ml of the bead stock.
Note on A11: Enter the number of beads in each coupling reaction. Maximum is 5,000,000 for these coupling volumes.
Note on A13: 1 nmol/ul = 1,000 pmol/ul
Note on A14: Enter the number of different concentrations to be tested here. For example, if you are testing the coupling of a protein at 4 different concentrations enter 4.
Note on A18: Step in cookbook
Note on D36: This is one of the few pink cells that you can edit to enter a smaller volume when needed.